SECTION 084413 - ALUMINUM CURTAIN WALL

- GENERAL

      - RELATED DOCUMENTS

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - This Section includes pre-engineered, conventionally exterior glazed aluminum screw spline curtain wall and related accessories.

        - Related Sections include the following:

          - Division 08 Section "Aluminum-Framed Entrances and Storefronts" for coordination among aluminum fenestration units.

          - Division 08 Section "Glazing" for additional glazing requirements.

          - Division 08 Section "Aluminum Windows" for incorporating aluminum windows into glazed curtain walls and for coordination among aluminum fenestration units.

      - REFERENCES

        - AAMA – Aluminum curtain wall design guide manual 1989.

        - ASTM E283 – Standard test method for determining the rate of air leakage through exterior windows, curtain walls, and doors under specified pressure differences across the specimen; 1991 (Reapproved 1999).

        - ASTM E331 – Standard test method for water penetration of exterior windows, skylights, doors and curtain walls by uniform static air pressure difference; 2000.

        - ASTM E330 – Standard test method for structural performance of exterior windows, doors, skylights and curtain walls by uniform static air pressure difference; 2001.

        - AAMA 1503/1/98 – Test method for condensation resistance factor (CRF) and test method for thermal transmission coefficient (U Value).

        - AAMA 501.2 – Field check of metal storefronts, curtain walls, and sloped glazing systems for water leakage; American Architectural Manufacturers Association; 1994 (part of AAMA 501).

      - PERFORMANCE REQUIREMENTS

        - Structural Performance:  Provide aluminum curtain wall capable of withstanding the effects of the following loads as well as the design wind load indicated but in no case less than 30 psf.

          - Uniform Load Deflection Test:  No deflection of any unsupported span L of test unit in excess of L/175 (L/240 + ¼” at spans exceeding 13’6”; 2L/175 at unsupported cantilevers) at a test pressure of 60 psf (positive and negative) when test in accordance with ASTM E330.

          - Uniform Load Structural Test:  Units to be tested at 90 psf or 1.5 times the design pressure (positive and negative) acting normal to the plane of the wall in accordance with ASTM E330.

            - No glass breakage or permanent set of any main frame member in excess of 0.2% of its clear span.

        - [Windborne-Debris Resistance:  Provide glazed curtain wall capable of resisting large missile impact from windborne debris, based on the pass/fail criteria as determined from testing glazed curtain wall identical to those specified, according to ASTM E 1886 and testing information in ASTM E 1996 and requirements of authorities having jurisdiction.] <Note to Specifier:  Windborne debris resistance requires the use of Laminated Glass (.090” PVB Interlayer) at the interior lite.>

      - SUBMITTALS

        - Product Data:  Include construction details, material descriptions, fabrication methods, dimensions of individual components, profiles, and finishes.

        - Shop Drawings:  Include plans, elevations, sections, details, attachments to other work, installation details, and the following:

          - Mullion details, including reinforcement and stiffeners.

          - Joinery details.

          - Weather-stripping details.

          - Glazing details.

        - Samples for Initial Selection:  For units with factory-applied color finishes.

        - Maintenance Data:  Include cleaning instructions for glass and metal finishes in maintenance manuals.

        - Test Reports and Calculations:

          - Submit certified independent laboratory test reports showing compliance with the specified requirements.

          - [Submit structural calculations prepared by a registered New Jersey Professional Engineer showing compliance with the specified uniform and structural load requirements.]

      - QUALITY ASSURANCE

        - Engineering Responsibility:  Shop drawings and engineering analysis shall be performed by aluminum curtain wall manufacturer.

        - Product Requirements:  For maximum performance, the curtain wall for this project must meet both the testing requirements as contained herein and the minimum material requirements specified.

        - Installer Qualifications:  An installer acceptable to aluminum curtain wall manufacturer for installation of units required for this Project.

        - Source Limitations:  Obtain aluminum curtain wall and windows through one source from a single manufacturer.

        - Product Options:  Drawings indicate size, profiles, and dimensional requirements of aluminum curtain wall and are based on the specific system indicated.  Do not modify size and dimensional requirements.

          - Do not modify intended aesthetic effects, as judged solely by Architect, except with Architect's approval.  If modifications are proposed, submit comprehensive explanatory data to Architect for review.

        - Glazing Publications:  Comply with published recommendations of glass manufacturers and with GANA's "Glazing Manual" unless more stringent requirements are indicated.

        - Preinstallation Conference:  If requested, conduct conference at project site to review methods and procedures related to aluminum curtain wall including, but not limited to, the following:

          - Review and finalize construction schedule and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

          - Review, discuss, and coordinate the interrelationship of aluminum curtain wall with other exterior wall components.

          - Review and discuss the sequence of work required to construct a watertight and weathertight exterior building envelope.

          - Inspect and discuss the condition of substrate and other preparatory work performed by other trades.

      - PROJECT CONDITIONS

        - Field Measurements:  For retrofit installations, verify aluminum curtain wall openings by field measurements before fabrication and indicate measurements on Shop Drawings.

          - Established Dimensions:  Where field measurements cannot be made without delaying the Work, establish opening dimensions and proceed with fabricating aluminum curtain wall without field measurements.  Coordinate wall construction to ensure that actual opening dimensions correspond to established dimensions.

      - WARRANTY

        - Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace aluminum curtain wall that fail in materials or workmanship within specified warranty period.

          - Failures include, but are not limited to, the following:

            - Failure to meet performance requirements.

            - Structural failures including excessive deflection, water leakage, or air infiltration.

            - Deterioration of metals or other materials beyond that which is normal.

            - Failure of insulating glass.

          - Warranty Period:

            - Curtain Wall: [Two] [Three] [Five] [Ten] years from date of Substantial Completion.

            - [Insulated Glazing:  10 years from date of Substantial Completion.]

            - [Painted Metal Finishes:]

              - [Five years from date of Substantial Completion for AAMA 2603 Baked Enamel Finishes.]

              - [Ten years from date of Substantial Completion for AAMA 2604 High Performance Finishes.]

              - [Twenty years from date of Substantial Completion for AAMA 2605 Superior Performance Finishes.]

- PRODUCTS

      - MANUFACTURERS

        - Basis-of-Design Product:  The basis of design for these specifications is the Series [1800] [1800i] Aluminum Curtain Wall as manufactured by Architectural Window Manufacturing Corporation, Rutherford, New Jersey.

        - Equivalents:  Subject to compliance with all material and performance requirements outlined in these specifications, “or equal” products by other manufacturers will be considered for use subject to review by the Architect.  The Architect’s decision regarding equivalency is final.

      - MATERIALS

        - Aluminum Extrusions:  Extruded aluminum prime billet 6063-T5 recommended by aluminum curtain wall manufacturer for strength, and application of required finish to meet the requirements of ASTM B221 and not less than 0.125-inch thickness at any location.

        - Face Dimension/Frame Depth: [2”] [2 ½”] face dimension; [6”] [7 ½”] [9 ½”] frame depth as required by job conditions and/or load.

        - Fasteners:  Aluminum, nonmagnetic stainless steel, epoxy adhesive, or other materials warranted by manufacturer to be noncorrosive and compatible with aluminum curtain wall members, anchors, and other components.

          - All fasteners must be concealed except where unavoidable for application of hardware.

          - For application of hardware, where required, use non-magnetic stainless steel phillips machine screws.

        - Anchors, Clips, and Accessories:  Aluminum, nonmagnetic stainless steel, or zinc-coated steel or iron complying with ASTM B 633 for SC 3 severe service conditions; provide sufficient strength to withstand design pressure indicated.

        - Framing Gaskets:  Comply with ASTM C864-99, Option II; EPDM, in a hardness suitable for its intended use.  70 Shore A Durometer for Preset Gaskets.  Black.  All corners of glazing gaskets shall be bed in silicone sealant compatible with glazing gaskets.

        - Setting Blocks:  EPDM85 Shore A Durometer; minimum 4” long per glass manufacturer’s requirements.  Verticals and horizontals shall have a silicone compatible elastomer thermal separator which will adhere to silicone sealant.  Framing intersections to incorporate silicone compatible “end dams”.  All horizontal glazing pockets will have weep holes to drain all water to exterior of the system.

        - Sealant:  For sealants required for assembly and/or glazing of aluminum curtain wall, provide [manufacturer's standard, permanently elastic, nonshrinking, and nonmigrating type recommended by sealant manufacturer for joint size and movement] [Structural silicone sealant meeting the requirements of ASTM C 1184 as required to pass impact testing as specified in Paragraph 1.4.C of this Section].

      - CURTAIN WALL

        - Curtain Wall Type:  Screw spline

        - Condensation-Resistance Factor (CRF):  Provide aluminum windows tested for thermal performance according to AAMA 1503, showing a minimum CRF of 50.

        - Thermal Transmittance:  Provide aluminum curtain wall with a U-factor and SHGC maximums indicated when simulated in accordance with NFRC 100 and NFRC 200 at the two-lite model size of 79” x 79” and glazed with 1” Argon filled sputter coat Low-E (#3) insulated glass using a warm edge spacer.

          - U-Factor: [0.40 1800] [0.35 1800i] Btu/sq. ft. x h x deg F or less.

          - SHGC: [0.33 1800] [0.33 1800i].

        - Air Infiltration:  Maximum rate not more than indicated when tested according to ASTM E283, Air Infiltration Test.

          - Maximum Rate:  0.01 cfm/sq. ft. of area at an inward test pressure of 6.24 lbf/sq. ft. (300 Pa).

        - Water Resistance:  No uncontrolled water leakage at a water test pressure equaling that indicated, when tested according to ASTM E331 (static) and AAMA 501.1 (dynamic), Water Resistance Tests.

          - Test Pressure (Static and Dynamic):  21 lbf/sq. ft.

      - INSULATED GLAZING

        - Construction:  All curtain wall (except those receiving insulated panels) shall be glazed with hermetically sealed 1” insulating glass units with a dual seal of polyisobutylene and silicone and a desiccant filled spacer.  Insulated glass shall be outside glazed and held in place with extruded aluminum pressure plates anchored to the mullions using stainless steel fasteners and must be glazed in accordance with AAMA Metal Curtain Wall Manual and FGMA Glazing Manual for the specified glass type.  [Glass must also be set in a continuous bed of structural silicone sealant as required to pass impact testing as specified in Paragraph 1.4.C of this Section.]

          - Exterior Glazing:

            - Thickness: [1/8”] [3/16”] [1/4”] [5/16”]

            - Tint: [Clear] [Bronze] [Grey] [Green]

            - Type: [Annealed Glass] [Heat Strengthened Glass] [Tempered Glass] [Laminated Glass (.030” PVB Interlayer)] [Laminated Glass (.060” PVB Interlayer)] [Laminated Glass (.090” PVB Interlayer)]

            - [Coating: [Pyrolitic Low-E (#2 Surface)] [Guardian SuperNeutral 68, Vitro Solarban 60, Viracon VE-2M Low-E (or equal) (#2 Surface)] [Other (Insert requirements or contact AWM for assistance)]]

          - Interior Glazing:

            - Thickness: [1/8”] [3/16”] [1/4”] [5/16”]

            - Tint: [Clear] [Obscure]

            - Type: [Annealed Glass] [Heat Strengthened Glass] [Tempered Glass] [Laminated Glass (.030” PVB Interlayer)] [Laminated Glass (.060” PVB Interlayer)] [Laminated Glass (.090” PVB Interlayer)]

            - [Coating: [Pyrolitic Low-E (#3 Surface)] [Guardian SuperNeutral 68, Vitro Solarban 60, Viracon VE-2M Low-E (or equal) (#3 Surface)] [Other (Insert requirements or contact AWM for assistance)]]

          - Interspace Content: [Air] [Argon]

            - Spacer Type: [Aluminum] [Warm Edge]

        - Opaque [Insulated] Panels:

          - Overall thickness: [1/4”] [1”]

          - Exterior Face: [Kynar paint on [smooth] [textured] .032” aluminum] [Porcelain enamel on 28 gauge [smooth] [textured] steel] - color to be selected from manufacturer’s standard.

          - Interior Face: [Kynar paint on [smooth] [textured] .032” aluminum] [Porcelain enamel on 28 gauge [smooth] [textured] steel] - color to be selected from manufacturer’s standard.

          - Exterior Substrate: [1/8” hardboard.] [3/16” mineral fiber board.] [3/16” corrugated plastic.]

          - Interior Substrate: [1/8” hardboard.] [3/16” mineral fiber board.] [3/16” corrugated plastic.] [1/2” Type C Firecode gypsum board.]

          - Core: [Polyisocyanurate.] [Polystyrene.]

      - HARDWARE

        - General:  Not applicable (See Division 8 Section “Aluminum Windows” for operable window requirements.)

      - INSECT SCREENS

        - General:  Not applicable (See Division 8 Section “Aluminum Windows” for operable window requirements.)

      - ACCESSORIES

        - Rescue Labels:  Not applicable.

      - FABRICATION

        - Fabricate aluminum curtain wall in sizes indicated.  Include a complete system for assembling components and anchoring curtain walls.

        - Thermally Improved Construction: [Series 1800 frame and pressure plates shall be thermally separated using a continuous ¼” thick extruded EPPM spacer.] [Series 1800i frames must be separated by a rigid, structural thermal barrier consisting of two glass reinforced polyamide nylon 6/6 struts mechanically crimped in raceways (INSULBAR® or equal).  In addition, frames and pressure plates shall be thermally separated using a continuous ¼” thick extruded EPPM spacer.  Products without both types of thermal barriers shall not be permitted.]

        - Weather Stripping:  Weather stripping shall be closed cell EPDM installed in integral raceways in framing members and pressure plates.

        - Weep Holes:  Provide weep holes and internal passages to conduct infiltrating water to exterior.

        - Mullions:  Provide mullions and cover plates as shown, complete with anchors for support to structure and installation of curtain wall units.  Allow for erection tolerances and provide for movement of curtain wall units due to thermal expansion and building deflections, as indicated.

        - Muntins:  Where shown on drawings, muntins shall be [3/8” deep profiled extruded aluminum applied to the exterior of 1” deep insulating glass. (Roll formed muntins shall not be acceptable).] [roll formed aluminum between the lites of 1” deep insulated glass.]

      - FINISHES, GENERAL

        - Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

        - Finish designations prefixed by AA comply with the system established by the Aluminum Association for designating aluminum finishes.

        - Exterior of Curtain Wall:

          - [Class II, Clear Anodic Finish:  AA-M12C22A31 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.]

          - [Class I, Clear Anodic Finish:  AA-M12C22A41 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, clear coating 0.018 mm or thicker) complying with AAMA 611.]

          - [Class I, Color Anodic Finish:  AA-M12C22A42/A44 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, integrally colored or electrolytically deposited color coating 0.018 mm or thicker) complying with AAMA 611.

            - Color: [Champagne] [Medium bronze] [Dark bronze] [Black].]

          - [Baked-Enamel Finish:  AA-C12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  acid-chromate-fluoride-phosphate conversion coating; Organic Coating:  as specified below).  Apply baked enamel complying with paint manufacturer's written instructions for cleaning, conversion coating, and painting.

            - Organic Coating:  Thermosetting, modified-acrylic enamel primer/topcoat system complying with AAMA 2603 Organic Coating:  Thermosetting, modified-acrylic enamel primer/topcoat system complying with AAMA 2603.

            - Color:  As selected by Architect from [manufacturer’s standard non-mica, non-exotic, non-metallic colors.] [manufacturer’s standard mica/metallic colors.]  (Note:  Exterior color may be different from interior color.)]

          - [High-Performance Organic Finish:  AA-C12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  acid-chromate-fluoride-phosphate conversion coating; Organic Coating:  as specified below).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturer’s written instructions.

            - Fluoropolymer Two-Coat System:  Manufacturer’s standard two-coat thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 50% polyvinylfluoride resin by weight; complying with AAMA 2604.

            - Color:  As selected by Architect from [manufacturer’s standard non-mica, non-exotic, non-metallic colors.] [manufacturer’s standard mica/metallic colors.]  (Note:  Exterior color may be different from interior color.)]

          - [Superior-Performance Organic Finish:  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  acid-chromate-fluoride-phosphate conversion coating; Organic Coating: as specified below).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with AAMA 2605 and with coating and resin manufacturer’s written instructions.

            - Fluoropolymer [Two-Coat] [Three-Coat] System:  Manufacturer’s standard [two-coat] [three-coat] thermocured system consisting of specially formulated inhibitive primer [and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight; complying with AAMA 2605.] [, fluoropolymer color coat, and clear fluoropolymer top coat, with both color coat and clear topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight; complying with AAMA 2605.]

            - Color:  As selected by Architect from [manufacturer’s standard non-mica, non-exotic, non-metallic colors.] [manufacturer’s standard mica/metallic colors.]  (Note:  Exterior color may be different from interior color.)]

        - Interior of Curtain Wall:

          - [Class II, Clear Anodic Finish:  AA-M12C22A31 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.]

          - [Class I, Clear Anodic Finish:  AA-M12C22A41 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, clear coating 0.018 mm or thicker) complying with AAMA 611.]

          - [Class I, Color Anodic Finish:  AA-M12C22A42/A44 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, integrally colored or electrolytically deposited color coating 0.018 mm or thicker) complying with AAMA 611.

            - Color: [Champagne] [Medium bronze] [Dark bronze] [Black].]

          - [Baked-Enamel Finish:  AA-C12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  acid-chromate-fluoride-phosphate conversion coating; Organic Coating:  as specified below).  Apply baked enamel complying with paint manufacturer's written instructions for cleaning, conversion coating, and painting.

            - Organic Coating:  Thermosetting, modified-acrylic enamel primer/topcoat system complying with AAMA 2603 Organic Coating:  Thermosetting, modified-acrylic enamel primer/topcoat system complying with AAMA 2603.

            - Color:  As selected by Architect from [manufacturer’s standard non-mica, non-exotic, non-metallic colors.] [manufacturer’s standard mica/metallic colors.]  (Note:  Exterior color may be different from interior color.)]

          - [High-Performance Organic Finish:  AA-C12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  acid-chromate-fluoride-phosphate conversion coating; Organic Coating:  as specified below).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturer’s written instructions.

            - Fluoropolymer Two-Coat System:  Manufacturer’s standard two-coat thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 50% polyvinylfluoride resin by weight; complying with AAMA 2604.

            - Color:  As selected by Architect from [manufacturer’s standard non-mica, non-exotic, non-metallic colors.] [manufacturer’s standard mica/metallic colors.]  (Note:  Exterior color may be different from interior color.)]

          - [Superior-Performance Organic Finish:  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  acid-chromate-fluoride-phosphate conversion coating; Organic Coating: as specified below).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with AAMA 2605 and with coating and resin manufacturer’s written instructions.

            - Fluoropolymer [Two-Coat] [Three-Coat] System:  Manufacturer’s standard [two-coat] [three-coat] thermocured system consisting of specially formulated inhibitive primer [and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight; complying with AAMA 2605.] [, fluoropolymer color coat, and clear fluoropolymer top coat, with both color coat and clear topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight; complying with AAMA 2605.]

            - Color:  As selected by Architect from [manufacturer’s standard non-mica, non-exotic, non-metallic colors.] [manufacturer’s standard mica/metallic colors.]  (Note:  Exterior color may be different from interior color.)]

- EXECUTION

      - EXAMINATION

        - Examine openings, substrates, structural support, anchorage, and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of work.  Verify rough opening dimensions and levelness of sill plate.  Examine wall flashings, vapor retarders, water and weather barriers, and other built-in components to ensure a coordinated, weathertight curtain wall installation.

          - Masonry Surfaces:  Visibly dry and free of excess mortar, sand, and other construction debris.

          - Wood Frame Walls:  Dry, clean, sound, well nailed, free of voids, and without offsets at joints.  Ensure that nail heads are driven flush with surfaces in opening and within 3 inches (76 mm) of opening.

          - Metal Surfaces:  Dry; clean; free of grease, oil, dirt, rust, corrosion, and welding slag; without sharp edges or offsets at joints.

          - Proceed with installation only after unsatisfactory conditions have been corrected.

      - INSTALLATION

        - Comply with Drawings, Shop Drawings, and manufacturer's written instructions for installing curtain wall, hardware, accessories, and other components.

        - Install curtain wall level, plumb, square, true to line, without distortion or impeding thermal movement, anchored securely in place to structural support.

        - Install curtain wall and components to drain condensation, water penetrating joints, and moisture migrating within curtain wall to the exterior.

        - Separate aluminum and other corrodible surfaces from sources of corrosion or electrolytic action at points of contact with other materials.

      - FIELD QUALITY CONTROL

        - Testing Agency: [If desired, Owner will engage] [Engage] a qualified testing agency to perform tests and inspections and prepare test reports.

          - Testing and inspecting agency will interpret tests and state in each report whether tested work complies with or deviates from requirements.

Revise first paragraph below if more stringent field testing is required to suit Project.  According to AAMA 502, Test Method A is the default, unless otherwise indicated.

        - Testing Services:  Testing and inspecting of installed curtain wall shall take place as follows:

          - Testing Methodology:  Testing of curtain wall for air infiltration and water resistance shall be performed according to [AAMA 501.2.] [AAMA 503.]  Field test pressures and allowable limits shall be as factored by [AAMA 501.2] [AAMA 503] from those minimums required to determine laboratory compliance.

          - Testing Extent: One test in a location selected by Architect and a qualified independent testing and inspecting agency.  Curtain wall shall be tested immediately after installation.

          - Test Reports:  Shall be prepared according to [AAMA 501.2] [AAMA 503].

        - Remediate noncomplying curtain wall and retest as specified above.

        - Additional testing and inspecting, at Contractor's expense, will be performed to determine compliance of remediated doors or additional work with specified requirements.

      - ADJUSTING, CLEANING, AND PROTECTION

        - Installer shall remove all labels and shipping bumpers from glass.

        - Manufacturer shall clean all aluminum prior to shipment.

        - Protection of newly installed curtain wall and/or final cleaning of glass and aluminum to remove any accumulations that may have occurred during the construction period is to be the responsibility of the General Contractor or Owner.

        - Comply with manufacturer’s written recommendations for final cleaning and maintenance.

      - DEMONSTRATION

        - Engage a factory-authorized service representative to train Owner's maintenance personnel to maintain curtain wall.

END OF SECTION 084413